## Exercise LED Question
CASH FLOW ANALYSIS
Project No
Replacement of lamps with LED |  |  |  |  | Project No | 0
Replacement of lamps with LED
SN | AREA | UNIT | VALUE | COMMENT
| Assumptions |  |  |  | Key Input data |  |  |  |  | Results
a | Electricity Tariff | USD/kWh | 46 | tariff (no VAT), source psrc.am |  |  | Cost/
b | Electricity Tariff | Eur/kWh | 0.073 | tariff (no VAT), source psrc.am | Description | Unit | Benefit |  |  | Description |  |  | Unit | Value
[5 empty] | Saved electricity | EUR | 10262.34 |  |  | Net Present Value (NPV) |  |  | EUR | 22605.0376
| Present |  |  |  | Saved fuel | EUR | 0 |  |  | Pay-Back Period |  |  | years | 5.1302
c | Electrical capacity (HPS 40W) | kW | 120 | installed capacity of lights (3000lamps) | Total Energy Saving | EUR | 10262.34 |  |  | Benefit Cost Ratio (BCR) |  |  |  | 1.3276
d | Average operating time | h/y | 2130 | 1 shifts/yearly, 10 days maint. Period | Water savings | EUR | 0 |  |  | Internal Rate of Return (IRR) |  |  | % | 17.83%
e | Electricity consumption | kWh/y | 255600 | b x c | Investment Cost | EUR | 69000
f | Electricity Costs | €/y | 18658.8 | b x e | Reduction in O&M costs | EUR | 3187.5
[5 empty] | Aditional Income from increased sales | EUR | 0
| After |  |  |  | Inflation | % | 0
g | New capacity (LED 18W) | kW | 54 | installed capacity of lights (3000lamps) | Project Lifetime | years | 16
h | Average operating time | h/y | 2130 | 1 shifts/yearly, 10 days maint. Period | Tax Rate | % | 0
i | Electricity consumption | kWh/y | 115020 | g x h | Discount Rate | % | 12%
j | Electricity Costs | €/y | 8396.46 | i x b
| Savings |  |  |  | Discounted Cash Flow Calculations (yearly) [ in EURO]
k | Energy Savings | kWh | 140580 | e - i | Operation Period | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
l | Energy Cost Savings | €/y | 10262.34 | k x b | Operation Year | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037
m | % of savings | % | 55% | for lighting | Benefits from Energy Savings |  | 10262.34 | 10262.34 | 10262.34 | 10262.34 | 10262.34 | 10262.34 | 10262.34 | 10262.34 | 10262.34 | 10262.34 | 10262.34 | 10262.34 | 10262.34 | 10262.34 | 10262.34 | 10262.34
n | Reduction in O&M costs | €/y | 3187.5 | divided in yearly units | Water savings |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
n | Total Cost savings | €/y | 13449.84 |  | Additional Income from increased sales |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Reduction in O&M costs |  | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5
| Investment Cost |  |  |  | Gross Profit |  | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84
o | Investment | € | 69000 |  | Investment costs | 0 2021: -69000
[5 empty] | Net Cash Flow | -69000 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84 | 13449.84
| GHG emissions reduction |  |  |  | Discounted Cash Flow | -69000 | 12008.7857 | 10722.1301 | 9573.3304 | 8547.6165 | 7631.8004 | 6814.1075 | 6084.0246 | 5432.1648 | 4850.1471 | 4330.4885 | 3866.5076 | 3452.2389 | 3082.3562 | 2752.1037 | 2457.2355 | 2193.9603
p | Emission factor-electricity | tCO2/MWhe | 0.8 | source: EBRD
q | CO2 emissions reduction | tCO2/y | 112.464 | p x k

## Exercise LED O&M Q
Financial Exercise. O&M Cost
|  | Old (HPS) | New (LED)
Number of lamps | No | 3000 | 3000
Cost per lamp | Eur/lamp | 6 | 20
Fittings & installation | Eur/lamp | 2 | 3
Total cost per replacement | Eur | 24000 | 69000
Period | y | 16 | 16
Operational lifetime | h | 8000 | 35000
Working period | h/y | 2130 | 2130
No of changes | No | 5 | 1
Replacement cost | Eur | 120000 | 69000
Savings in O&M | Eur/y |  | 3187.5
|  |  | TOTAL NET DIFFERENCE PER YEAR | 0

## O&M Solutions
Financial Exercise 2. O&M Cost
|  | Old (HPS) | New (LED)
Number of lamps | No | 3000 | 3000
Cost per lamp | Eur/lamp | 6 | 20
Fittings & installation | Eur/lamp | 2 | 3
Total cost per replacement | Eur | 24000 | 69000
Period | y | 16 | 16
Operational lifetime | h | 8000 | 35000 | provided in technical specification
Working period | h/y | 2130 | 2130 | (hours of operation per day) X (days operating in a year)
No of changes | No | 5 | 1
Replacement cost | Eur | 120000 | 69000
Savings in O&M (yearly) | Eur/y |  | 3187.5
|  |  | TOTAL NET DIFFERENCE PER YEAR | 0

## Exercise solution (hidden)
Financial Exercise 2. Technical and DCF analysis |  |  |  |  | CASH FLOW ANALYSIS
Project No
Replacement of lamps with LED |  |  |  |  | Project No
Replacement of lamps with LED
SN | AREA | UNIT | VALUE | COMMENT
| Assumptions |  |  |  | Key Input data |  |  |  |  | Results
a | Electricity Tariff | RB/kWh | 3.07 | tariff for 2013 (no VAT) |  |  | Cost/
b | Electricity Tariff | Eur/kWh | 0.073 | tariff for 2013 (no VAT) | Description | Unit | Benefit |  |  | Description |  |  | Unit | Value
[5 empty] | Saved electricity | EUR | 8396.46 |  |  | Net Present Value (NPV) |  |  | EUR | 43352.8992
| Present |  |  |  | Saved fuel | EUR | 0 |  |  | Pay-Back Period |  |  | years | 4.6712
c | Electrical capacity (T8 36W) | kW | 108 | installed capacity of lights (5000lamps) | Total Energy Saving | EUR | 11583.96 |  |  | Benefit Cost Ratio (BCR) |  |  |  | 1.6283
d | Average operating time | h/y | 2130 | 1 shift 15 days maint. Period | Water savings | EUR | 0 |  |  | Internal Rate of Return (IRR) |  |  | % | 20.02%
e | Electricity consumption | kWh/y | 230040 | c x d | Investment Cost | EUR | 69000
f | Electricity Costs | €/y | 16792.92 | b x f | Reduction in O&M costs | EUR | 3187.5
[5 empty] | Aditional Income from increased sales | EUR | 0
| After |  |  |  | Inflation | % | 0%
g | New capacity (led 18W) | kW | 54 | installed capacity of lights (5000lamps) | Project Lifetime | years | 15
h | Average operating time | h/y | 2130 | 1 shift 15 days maint. Period | Tax Rate | % | 0
i | Electricity consumption | kWh/y | 115020 | g x h | Discount Rate | % | 10%
j | Electricity Costs | €/y | 8396.46 | i x b
| Savings |  |  |  | Discounted Cash Flow Calculations (yearly) [ in EURO]
k | Energy Savings | kWh | 115020 | e - i | Operation Period | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
l | Energy Cost Savings | €/y | 8396.46 | k x b | Operation Year | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
m | % of savings | % | 50% | for lighting | Benefits from Energy Savings |  | 11583.96 | 11583.96 | 11583.96 | 11583.96 | 11583.96 | 11583.96 | 11583.96 | 11583.96 | 11583.96 | 11583.96 | 11583.96 | 11583.96 | 11583.96 | 11583.96 | 11583.96
n | Reduction in O&M costs | €/y | 3187.5 | divided in yearly units | Water savings |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
n | Total Cost savings | €/y | 11583.96 |  | Additional Income from increased sales |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Reduction in O&M costs |  | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5
| Investment Cost |  |  |  | Gross Profit |  | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46
o | Investment | € | 69000 |  | Investment costs | 0 2015: -69000
[5 empty] | Net Cash Flow | -69000 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46 | 14771.46
| GHG emissions reduction |  |  |  | Discounted Cash Flow | -69000 | 13428.6 | 12207.8182 | 11098.0165 | 10089.1059 | 9171.9145 | 8338.1041 | 7580.0946 | 6890.9951 | 6264.541 | 5695.0373 | 5177.3066 | 4706.6424 | 4278.7658 | 3889.7871 | 3536.1701
p | Emission factor-electricity | tCO2/MWhe | 0.8 | source: EBRD
q | CO2 emissions reduction | tCO2/y | 92.016 | p x k
[7 empty] | Electricity | [9 empty] | Investment costs
[7 empty] | EURO/kWh | IRR | [8 empty] | Cost (€) | NPV (€)
[8 empty] | 20.02% | [9 empty] | 43352.8992
[6 empty] | 0.4 | 0.04 | 13.54% | 57.14% | [6 empty] | 0.7 | 70000 | 42352.8992
[6 empty] | 0.45 | 0.045 | 14.56% | 64.29% | [6 empty] | 0.75 | 75000 | 37352.8992
[6 empty] | 0.5 | 0.05 | 15.57% | 71.43% | [6 empty] | 0.8 | 80000 | 32352.8992
[6 empty] | 0.55 | 0.055 | 16.56% | 78.57% | [6 empty] | 0.85 | 85000 | 27352.8992
[6 empty] | 0.6 | 0.06 | 17.54% | 85.71% | [6 empty] | 0.9 | 90000 | 22352.8992
[6 empty] | 0.65 | 0.065 | 18.5% | 92.86% | [6 empty] | 0.95 | 95000 | 17352.8992
[6 empty] | 0.7 | 0.07 | 19.45% | 100% | [6 empty] | 1 | 100000 | 12352.8992
[6 empty] | 0.75 | 0.075 | 20.4% | 107.1% | [6 empty] | 1.05 | 105000 | 7352.8992
[6 empty] | 0.8 | 0.08 | 21.33% | 114.3% | [6 empty] | 1.1 | 110000 | 2352.8992
[6 empty] | 0.85 | 0.085 | 22.26% | 121.4% | [6 empty] | 1.15 | 115000 | -2647.1008
[6 empty] | 0.9 | 0.09 | 23.18% | 128.6% | [6 empty] | 1.2 | 120000 | -7647.1008
[6 empty] | 0.95 | 0.095 | 24.09% | 135.7% |  | Initial | 0.1 |  |  |  | 1.25 | 125000 | -12647.1008
[6 empty] | 1 | 0.1 | 25% | 142.9% |  | Step | -0.05 |  |  |  | 1.3 | 130000 | -17647.1008
[9 empty] | Project IRR vs electricity price | [10 empty] | Project NPV vs Investment Cost

## Exercise O&M
Financial Exercise 2A. O&M Cost
|  | Old (HPS) | New (LED)
Number of lamps | No | 3000 | 3000
Capacity | W | 40 | 18
Cost of LED | EUR/W | 0.15 | 1.1111
Cost per lamp | Eur/lamp | 6 | 20
Fittings & installation | Eur/lamp | 2 | 3
Total cost per replacement | Eur | 24000 | 69000
Period | y | 16 | 16
Operational lifetime | h | 8000 | 35000
Working period | h/y | 2130 | 2130
No of changes | No | 5 | 1
Replacement cost | Eur | 120000 | 69000
Savings in O&M (yearly) | Eur/y |  | 3187.5
Factor for electricity consumption

## Exercise & solution (hidden)
Financial Exercise 2. Technical and Discounted Cash Flow (DCF) analysis |  |  |  |  | CASH FLOW ANALYSIS
Project No
Replacement of lamps with LED |  |  |  |  | Project No
Replacement of lamps with LED
SN | AREA | UNIT | VALUE | COMMENT
| Assumptions |  |  |  | Key Input data |  |  |  |  | Results
a | Electricity Tariff | RB/kWh | 3.07 | tariff (no VAT), source psrc.am |  |  | Cost/
b | Electricity Tariff | Eur/kWh | 0.073 | tariff (no VAT), source psrc.am | Description | Unit | Benefit |  |  | Description |  |  | Unit | Value
[5 empty] | Saved electricity | EUR | 0 |  |  | Net Present Value (NPV) |  |  | EUR | -20511.2431
| Present |  |  |  | Saved fuel | EUR | 0 |  |  | Pay-Back Period |  |  | years | 10.8235
c | Electrical capacity (T8 36W) | kW | 108 | installed capacity of lights (5000lamps) | Total Energy Saving | EUR | 3187.5 |  |  | Benefit Cost Ratio (BCR) |  |  |  | 0.70274
d | Average operating time | h/y | 2130 | 1 shift, 15 days maint. Period | Water savings | EUR | 0 |  |  | Internal Rate of Return (IRR) |  |  | % | 4.387%
e | Electricity consumption | kWh/y | 0 | b x c | Investment Cost | EUR | 69000
f | Electricity Costs | €/y | 0 | b x e | Reduction in O&M costs | EUR | 3187.5
[5 empty] | Aditional Income from increased sales | EUR | 0
| After |  |  |  | Inflation | % | 0%
g | New capacity (led 18W) | kW | 54 | installed capacity of lights (5000lamps) | Project Lifetime | years | 15
h | Average operating time | h/y | 2130 | 1 shift, 15 days maint. Period | Tax Rate | % | 0
i | Electricity consumption | kWh/y | 0 | g x h | Discount Rate | % | 10%
j | Electricity Costs | €/y | 0 | i x b
| Savings |  |  |  | Discounted Cash Flow Calculations (yearly) [ in EURO]
k | Energy Savings | kWh | 0 | e - i | Operation Period | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
l | Energy Cost Savings | €/y | 0 | k x b | Operation Year | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
m | % of savings | % | #DIV/0! | for lighting | Benefits from Energy Savings |  | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5
n | Reduction in O&M costs | €/y | 3187.5 | divided in yearly units | Water savings |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
n | Total Cost savings | €/y | 3187.5 |  | Additional Income from increased sales |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Reduction in O&M costs |  | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5 | 3187.5
| Investment Cost |  |  |  | Gross Profit |  | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375
| Cost of LED | €/W | 1.1 |  | Investment costs | 0 2015: -69000
o | Investment | € | 69000 |  | Net Cash Flow | -69000 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375 | 6375
[5 empty] | Discounted Cash Flow | -69000 | 5795.4545 | 5268.595 | 4789.6319 | 4354.2108 | 3958.3734 | 3598.5213 | 3271.383 | 2973.9845 | 2703.6223 | 2457.8385 | 2234.3986 | 2031.2715 | 1846.6104 | 1678.7367 | 1526.1243
GHG emissions reduction
p | Emission factor-electricity | tCO2/MWhe | 0.8 | source: EBRD
q | CO2 emissions reduction | tCO2/y | 0 | p x k
[7 empty] | Electricity | [9 empty] | Investment costs
[7 empty] | EURO/kWh | IRR | [8 empty] | Cost (€) | NPV (€)
[8 empty] | 4.387% | [9 empty] | 0.043869
[6 empty] | 0.4 | 0.04 | 4.387% | 57.14% | [6 empty] | 1.6 | 1.6 | 4.387%
[6 empty] | 0.45 | 0.045 | 4.387% | 64.29% | [6 empty] | 1.55 | 1.55 | 4.387%
[6 empty] | 0.5 | 0.05 | 4.387% | 71.43% | [6 empty] | 1.5 | 1.5 | 4.387%
[6 empty] | 0.55 | 0.055 | 4.387% | 78.57% | [6 empty] | 1.45 | 1.45 | 4.387%
[6 empty] | 0.6 | 0.06 | 4.387% | 85.71% | [6 empty] | 1.4 | 1.4 | 4.387%
[6 empty] | 0.65 | 0.065 | 4.387% | 92.86% | [6 empty] | 1.35 | 1.35 | 4.387%
[6 empty] | 0.7 | 0.07 | 4.387% | 100% | [6 empty] | 1.3 | 1.3 | 4.387%
[6 empty] | 0.75 | 0.075 | 4.387% | 107.1% | [6 empty] | 1.25 | 1.25 | 4.387%
[6 empty] | 0.8 | 0.08 | 4.387% | 114.3% | [6 empty] | 1.2 | 1.2 | 4.387%
[6 empty] | 0.85 | 0.085 | 4.387% | 121.4% | [6 empty] | 1.15 | 1.15 | 4.387%
[6 empty] | 0.9 | 0.09 | 4.387% | 128.6% | [6 empty] | 1.1 | 1.1 | 4.387%
[6 empty] | 0.95 | 0.095 | 4.387% | 135.7% |  | Initial | 0.1 |  |  |  | 1.05 | 1.05 | 4.387% |  |  | Initial | 1
[6 empty] | 1 | 0.1 | 4.387% | 142.9% |  | Step | -0.05 |  |  |  | 1 | 1 | 4.387% |  |  | Step | 0.05
[9 empty] | Project IRR vs electricity price | [10 empty] | Project IRR vs Investment Cost